| 023-4346-0 | DC Energy Display, DCE |
| --- | --- |

DC ENERGY DISPLAY

A Kussmaul DCE Series Model #023-4346-0 display shall be installed. The unit shall display volts, amps, energy used and remaining for 12 or 24 volts up to 500 amps and 3,000 amp-hour capacity.

The display shall monitor voltage on up to three (3) separate banks:

1.  Charge/discharge amperage

2.  Total energy: amp-hours or percent-of-charge

3.  Alarms: high/low voltage and low amp-hours remaining