| 023-4348-0 | DC Voltmeter Display, DCV |
| --- | --- |

DC VOLTMETER DISPLAY

A Kussmaul DCV Series Model #023-4348-0 voltmeter display shall be installed.   The unit shall display three (3) battery bank digital read out for 12 and 24 volt battery systems; this shall include high/low voltage built-in alarm.   The unit shall be wired directly to the batteries, with no charger connection required.   The display shall have a push button selection of battery bank readings.