| 091-189-12-3.5D | Status Center, Single Battery Dislay |
| --- | --- |

DIGITAL & LED DISPLAY

A Kussmaul Model #091-189-12-3.5D Auto Charge Status Center with 2 decimal place accuracy shall be installed.   The unit shall provide LED digital voltage readout.   The left side of the display shall have four (4) LED color coded lights shall indicate battery condition.