| 091-189-2-12-3.5D | Status Center, Dual Battery Display |
| --- | --- |

DIGITAL & LED DISPLAY

A Kussmaul Model #091-189-2-12-3.5D Auto Charge dual display Status Center with two decimal place accuracy shall be installed.   The right side of the unit shall provide LED digital voltage readout for each bank of batteries.   The left side of the display shall have four (4) LED color coded lights shall indicate battery condition.