| 091-194-IND | Status Center in Standard Housing |
| --- | --- |

DIGITAL DISPLAY

A Kussmaul Model #091-194-IND Auto Charge Status Center shall be installed.   The unit shall provide LED digital voltage and amperage readout.   The right side of the display shall have a five segment bar graph indicating output current.  The left side of the display shall have four (4) LED color coded lights shall indicate battery condition.  Indicator may be used with the Auto Charge 1200, Auto Charge 1200 Remote, Pump Plus 1200 and LPC 40.