| 091-31-12 | Auto Charge 1 |
| --- | --- |

BATTERY CHARGER

A Kussmaul Auto Charge #1 Series Model #091-31-12, 1 amp battery charger shall be installed.  The unit shall be designed specifically for charging small batteries with a 5 to 20 amp hour range.

The charger shall have the following operational specifications:

a)  120 volts AC input at 0.5 amps

b)  12 volts DC output at 1 amps

c)   Dimensions of:  3.5” high x 2.25” wide x 3.5” deep and weighs 3 lbs.

The battery charger shall supply a ‘single battery bank’ with automatic operation and sturdy molded case with mounting flanges for vehicle installation.